## Plate 1 - Sheet1
Software Version | 3.14.03
Experiment File Path: | C:\Users\bav45\OneDrive - Texas A&M University\TAMU\Hu Lab\LEMOS\test_050725\pre-culture data.xpt
Protocol File Path:
Plate Number | Plate 1
Date | 2025-05-07
Time | 13:31
Reader Type: | Synergy H1
Reader Serial Number: | 23051023
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE (Use plate lid)
Eject plate on completion
Read | Absorbance Endpoint
G9..G12
Wavelengths: 600
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Read | Fluorescence Endpoint
G9..G12
Filter Set 1
Excitation: 485, Emission: 528
Optics: Bottom, Gain: 50
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Results
Actual Temperature: | 30
Actual Temperature: | 30
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | [12 empty] | Read 1:600
Read 2:485,528
| B | [12 empty] | Read 1:600
Read 2:485,528
| C | [12 empty] | Read 1:600
Read 2:485,528
| D | [12 empty] | Read 1:600
Read 2:485,528
| E | [12 empty] | Read 1:600
Read 2:485,528
| F | [12 empty] | Read 1:600
Read 2:485,528
| G | 9: 0.599; 10: 0.606; 11: 0.561; 12: 0.558 | Read 1:600
|  | 9: 77; 10: 528; 11: 1734; 12: 1026 | Read 2:485,528
| H | [12 empty] | Read 1:600
Read 2:485,528
[10 empty] | 0.503 | 0.51 | 0.465 | 0.462
[10 empty] | 298.2107 | 686.2745
[10 empty] | 1201.7893 | 2813.7255