## Plate 1 - Sheet1
Software Version | 3.14.03
Experiment File Path: | C:\Users\bav45\OneDrive - Texas A&M University\TAMU\Hu Lab\LEMOS\test_050925\pre-culture data.xpt
Protocol File Path:
Plate Number | Plate 1
Date | 2025-05-09
Time | 14:47
Reader Type: | Synergy H1
Reader Serial Number: | 23051023
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE (Use plate lid)
Eject plate on completion
Read | Absorbance Endpoint
H1..H4
Wavelengths: 600
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Read | Fluorescence Endpoint
H1..H4
Filter Set 1
Excitation: 485, Emission: 528
Optics: Bottom, Gain: 50
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Results
Actual Temperature: | 30.1
Actual Temperature: | 30.1
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | [12 empty] | Read 1:600
Read 2:485,528
| B | [12 empty] | Read 1:600
Read 2:485,528
| C | [12 empty] | Read 1:600
Read 2:485,528
| D | [12 empty] | Read 1:600
Read 2:485,528
| E | [12 empty] | Read 1:600
Read 2:485,528
| F | [12 empty] | Read 1:600
Read 2:485,528
| G | [12 empty] | Read 1:600
Read 2:485,528
| H | 1: 0.628; 2: 0.609; 3: 0.608; 4: 0.539 | Read 1:600
|  | 1: 76; 2: 1126; 3: 400; 4: 439 | Read 2:485,528
|  | 0.533 | 0.514 | 0.513 | 0.444
|  | 281.4259 |  | 682.2612
|  | 1218.5741 |  | 2817.7388